(DRAFT)

Statutory Instruments

S.I. No.    of 2007

Building Regulations (Amendment) Regulations 2007

Dublin

Published by the Stationery Office

Prn: 						                           	Price: €

## S.I.  No.          of 2007

## Building Regulations (Amendment) Regulations 2007

The Minister for the Environment, Heritage and Local Government, in exercise of the powers conferred on him by Sections 3 and 18 of the Building Control Act 1990 (No. 3 of 1990) hereby makes the following Regulations -

Citation                 1.       (1) These Regulations may be cited as the Building Regulations

(Amendment)  Regulations 2007.

(2) These Regulations and the Building Regulations 1997  (S.I.
                        No. 497 of 1997) shall be construed as one and cited together
                        as the Building Regulations 1997 to 2007.

Commencement    2.  These Regulations shall, subject to Article 3 of these Regulations, come into operation on the 1st day of July 2008.

Application         3.  These Regulations shall apply to the provision of a new dwelling
                                    (including a flat), where works commence or take place, as the case
                                    may be, on or after the 1st day of July 2008 except where-

(a) a planning application is made on or before the 30th day
                                        of June 2008 for planning permission or approval pursuant to
                                        the Planning and Development Act 2000 (No. 30 of 2000)
                                        and where substantial work has been completed by the 30th 
                                        day of June 2009.

(b) a notice pursuant to the provisions of Part 8 of the
                                         Planning and Development Regulations 2001 (S.I. No. 600
                                         of 2001) has been published on or before the 30th day of 
                                         June 2008 and where substantial work has been completed
                                         by 30th day of  June 2009.

For the purposes of these Regulations, “substantial work has been completed” means that the structure of the external walls of the building has been erected.

4. The Second Schedule to the Building Regulations 2005 (S.I. No. 873 of 2005) is hereby amended in so far as it relates to dwellings by the substitution of the following for Part L:

“

Part L

L1   	A Dwelling shall be designed and constructed so as to ensure that the energy performance of the building is such as to limit the amount of energy required for the operation of the building and the amount of CO2 emissions associated with this energy use insofar as is reasonably practicable.

L2   	For new dwellings, the requirement of L1 shall be met by:

- providing that the energy performance of the new dwelling is such as to limit the calculated primary energy consumption and related CO2 emissions insofar as is reasonably practicable, when both energy consumption and CO2 emissions are calculated using the Dwelling Energy Assessment Procedure (DEAP) published by Sustainable Energy Ireland;

- providing that, for new dwellings, a reasonable proportion of the energy consumption to meet the energy performance of a dwelling is provided by renewable energy sources;

(c) limiting heat loss and, where appropriate, availing of heat gain through the fabric of the building;

- providing and commissioning energy efficient space and water heating systems with efficient heat sources  and effective controls;

- providing energy efficient artificial lighting systems and adequate control of these systems;

- providing to the building owner sufficient information about the building, the fixed building services and their maintenance requirements so that the building can be operated in such a manner as to use no more fuel and energy than is reasonable.

”.

Given under the Official Seal of the Minister for the Environment Heritage and Local Government

this       day of      , 2007.

________________________

Minister for the Environment, Heritage and Local Government.

Explanatory Note

(This note is not part of the instrument and does not purport to be a legal interpretation).

These Regulations amend the Building Regulations.

The Regulations primarily amend Part L of the Second Schedule to the 1995 Regulations (Conservation of Fuel and Energy) to:-

(1) set higher thermal performance/insulation standards for the provision
     of new dwellings, where work commences on or after 1 July 2008.

The operative date is subject to transitional arrangements in relation to-

- dwellings for which planning permission or approval is applied for on or before 30 June 2008, and where substantial work has been completed by the 30th day of June 2009. or

- a Part 8 notice is published, on or before the 30 June 2008,

provided substantial work has been completed by 30 June 2009.